## PumpLibrary Methods
Type | PumpLibrary Methods | Requirements(SRS ) | SRS Phase | SVT Phase | Comments
Keywords | Alarm | This module is used to define all related methods with alarm.
Keywords | DeliveryView | This module is used to define all related methods with delivery view.
Keywords | HardwareControl | This module is used to define all related methods with hardware.
Keywords | MenuSettings | This module is used to define all related methods with menu setting.
Keywords | SensorControl | This module is used to define all related methods with sensor.
ParserProtocol | base_invoker | This module is used to call API of dynamic link library.
ParserProtocol | protocol_invoker | This module is used to generate sending command data.
ParserProtocol | struct_define | This module is used to define command data struct.
SerialDevice | __init__ | This module is used to input packages.
SerialDevice | com_base | This module is used to select the com way to connect the pump.
SerialDevice | connect_object | This module is used to redefine the pump communication.
SerialDevice | device_base | This module is used to define all serial port parameters and operating methods.
SerialDevice | ethernet_base | This module is used to select the ethernet way to connect the pump.
SerialDevice | io_base | This module is used to select the io way to connect the pump.
SerialDevice | pump_connect | This module is used to connect with pump.
TestCase | main | This module is used to create object for sending command and builds connect with pump.
TestLog
TestReport
__init__
common_attributes
global_attributes
version
write_to_csv
Not Required

## PumpLibrary Methods Completed
Type | PumpLibrary Methods | Status | Function | Comments
Required | def get_pump_alarm(self): | Done | This method is used to get current alarm id on the pump.
Required | def get_alarm_name(self, alarm_index): | Done | This method is used to get alarm name on the pump.
Required | def get_alarm_count(self): | Done | This method is used to get alarm count on the pump.
Required | def start_bolus(self): | Done | This method is used to start bolus.
Required | def stop_bolus(self): | Done | This method is used to stop bolus.
Required | def set_bolus_parameter(self, bolus_rate, bolus_volume): | Done | This method is used to set bolus parameter.
Required | def get_system_status(self): | Done | This method is used to get current system status on the pump.
Required | def start_infusion(self): | Done | This method is used to start infusion on the pump.
Required | def stop_infusion(self): | Done | This method is used to stop infusion on the pump.
Required | def set_infusion_parameter(self, rate, infusion_time, vtbi): | Done | This method is used to set infusion parameter in the basic mode on the pump.
Required | def start_prime(self): | Done | This method is used to start prime.
Required | def stop_prime(self): | Done | This method is used to stop prime.
Required | def get_infusion_mode(self): | Done | This method is used to get infusion mode on the pump.
Required | def set_infusion_mode(self, mode): | Done | This method is used to set infusion mode on the pump.
Required | def get_dose_unit(self): | Done | This method is used to get dose unit on the pump.
Required | def set_dose_unit(self, dose_unit): | Done | This method is used to set dose unit on the pump.
Required | get_drug_mass_unit(self): | Done | This method is used to get drug mass unit on the pump.
Required | def set_drug_mass_unit(self, drug_mass_unit): | Done | This method is used to set drug mass unit on the pump.
Required | def get_brand(self): | Done | This method is used to get brand on the pump.
Required | def set_brand(self, brand): | Done | This method is used to set brand on the pump.
Required | def get_delayed_start_switch_status(self): | Done | This method is used to get delayed start switch status on the pump.
Required | def set_delayed_start_switch_status(self, switch_status): | Done | This method is used to set delayed start switch status on the pump.
Required | def get_kvo(self): | Done | This method is used to get kvo on the pump.
Required | def set_kvo(self, kvo): | Done | This method is used to set kvo on the pump.
Required | def get_drug_library_switch_status(self): | Done | This method is used to get drug library switch status on the pump.
Required | def set_drug_library_switch_status(self, switch_status): | Done | This method is used to set drug library switch status on the pump.
Required | def get_occlusion_level(self): | Done | This method is used to get occlusion level the pump.
Required | def set_occlusion_level(self, level): | Done | This method is used to set occlusion level on the pump.
Required | def get_save_last_program_switch_status(self): | Done | This method is used to get save last program switch status on the pump.
Required | def set_save_last_program_switch_status(self, switch_status): | Done | This method is used to set save last program switch status on the pump.
Required | def get_date_time(self): | Done | This method is used to get date time on the pump.
Required | def set_date_time(self, year, month, day, hour, minute, second): | Done | This method is used to set date time on the pump.
Required | def get_brightness(self): | Done | This method is used to get brightness on the pump.
Required | def set_brightness(self, brightness_value): | Done | This method is used to set brightness on the pump.
Required | def get_night_mode_switch_status(self): | Done | This method is used to get night mode switch status.
Required | def set_night_mode_switch_status(self, switch_status): | Done | This method is used to set night mode switch status.
Required | def get_night_mode_period(self): | Done | This method is used to get night mode period on the pump.
Required | def set_night_mode_period(self, begin_hour, begin_minute, end_hour, end_minute): | Done | This method is used to set night mode period on the pump.
Required | def get_night_mode_alarm_volume(self): | Done | This method is used to get night mode alarm volume on the pump.
Required | def set_night_mode_alarm_volume(self, volume): | Done | This method is used to set night mode alarm volume on the pump.
Required | def get_night_mode_brightness(self): | Done | This method is used to get night mode brightness on the pump.
Required | def set_night_mode_brightness(self, brightness): | Done | This method is used to set night mode brightness on the pump.
Required | def get_touch_tone_switch_status(self): | Done | This method is used to get touch tone switch status on the pump.
Required | def set_touch_tone_switch_status(self, switch_status): | Done | This method is used to set touch tone switch status on the pump.
Required | def get_log_total_num(self): | Done | This method is used to get log total number on the pump.
Required | def get_log(self, log_number): | Done | This method is used to get log information on the pump.
Required | def write_log(self, log_index): | Done | This method is used to write a log to the pump.
Required | def clear_history_log(self): | Done | This method is used to clear all history logs on the pump.
Required | def get_edit_rate_at_run_time_switch_status(self): | Done | This method is used to get edit rate at run time switch status on the pump.
Required | def set_edit_rate_at_run_time_switch_status(self, switch_status): | Done | This method is used to set edit rate at run time switch status on the pump.
Required | def get_keypad_lock_switch_status(self): | Done | This method is used to get keypad lock switch status on the pump.
Required | def set_keypad_lock_switch_status(self, switch_status): | Done | This method is used to set keypad lock switch status on the pump.
Required | def get_alarm_volume(self): | Done | This method is used to get alarm volume on the pump.
Required | def set_alarm_volume(self, alarm_volume): | Done | This method is used to set alarm volume on the pump.
Required | def get_infusion_near_complete_criteria(self): | Done | This method is used to get infusion near complete criteria on the pump.
Required | def set_infusion_near_complete_criteria(self, infusion_near_complete_criteria, parameters_for_criteria): | Done | This method is used to set infusion near complete criteria on the pump.
Required | def get_bubble_sensitivity(self, air_detection_option): | Done | This method is used to get bubble sensitivity on the pump.
Required | def set_bubble_sensitivity(self, air_detection_option, bubble_sensitivity): | Done | This method is used to set bubble sensitivity on the pump.
Required | def get_drip_sensor_switch_status(self): | Done | This method is used to get drip sensor switch status on the pump.
Required | def set_drip_sensor_switch_status(self, switch_status): | Done | This method is used to set drip sensor switch status on the pump.
Required | def get_alarm_sound_type(self): | Done | This method is used to get alarm sound type on the pump.
Required | def set_alarm_sound_type(self, alarm_sound_type): | Done | This method is used to set alarm sound type on the pump.
Required | def restore_factory_setting(self): | Done | This method is used to restore factory setting.
Required | def get_maintenance_date_time(self): | Done | This method is used to get maintenance date time on the pump.
Required | def get_maintenance_period(self): | Done | This method is used to get maintenance period on the pump.
Required | def get_firmware_version(self): | Done | This method is used to get firmware version on the pump.
Required | def get_firmware_data_version(self, firmware_type): | Done | This method is used to get firmware data version on the pump.
Required | def get_serial_number(self): | Done | This method is used to get serial number on the pump.
Required | def get_pressure_sensor_status(self): | Done | This method is used to get pressure sensor status on the pump.
Required | def get_size_sensor_status(self): | Done | This method is used to get size sensor status on the pump.
Required | def get_door_sensor_status(self): | Done | This method is used to get door sensor status on the pump.
Required | def get_drip_speed_sensor_status(self): | Done | This method is used to get drip speed sensor status on the pump.
Required | def get_bubble_sensor_status(self): | Done | This method is used to get bubble sensor status on the pump.
Required | def get_speed_sensor_status(self): | Done | This method is used to get speed sensor status on the pump.
Required | def verify_passcode(self, screen_type, length, passcode): | Blocked
Not Required | def set_tube_precision_calibration_parameter(self, sequence_number, vtbi, rate): | Blocked

## Keywords Methods
MenuSettings | Infusion Setting | Infusion Mode | def get_infusion_mode(self): | def set_infusion_mode(self, mode):
|  | Unit Setting | def get_dose_unit(self): | def set_dose_unit(self, dose_unit): | get_drug_mass_unit(self): | def set_drug_mass_unit(self, drug_mass_unit):
|  | Tube Brand | def get_brand(self): | def set_brand(self, brand):
|  | Delayed Start | def get_delayed_start_switch_status(self): | def set_delayed_start_switch_status(self, switch_status):
|  | KVO Rate(ml/h) | def get_kvo(self): | def set_kvo(self, kvo):
|  | Drug Library | def get_drug_library_switch_status(self): | def set_drug_library_switch_status(self, switch_status):
|  | Occlusion Level | def get_occlusion_level(self): | def set_occlusion_level(self, level):
|  | Save Last Program | def get_save_last_program_switch_status(self): | def set_save_last_program_switch_status(self, switch_status):
| System Setting | Time | def get_date_time(self): | def set_date_time(self, year, month, day, hour, minute, second):
Date
|  | Display Brightness | def get_brightness(self): | def set_brightness(self, brightness_value):
|  | Night Mode | def get_night_mode_switch_status(self): | def set_night_mode_switch_status(self, switch_status): | def get_night_mode_period(self): | def set_night_mode_period(self, begin_hour, begin_minute, end_hour, end_minute): | def get_night_mode_alarm_volume(self): | def set_night_mode_alarm_volume(self, volume): | def get_night_mode_brightness(self): | def set_night_mode_brightness(self, brightness):
|  | Key Tone | def get_touch_tone_switch_status(self): | def set_touch_tone_switch_status(self, switch_status):
| History Log |  | def get_log_total_num(self): | def get_log(self, log_number): | def write_log(self, log_index): | def clear_history_log(self):
| Safety Setting | Titration Rate | def get_edit_rate_at_run_time_switch_status(self): | def set_edit_rate_at_run_time_switch_status(self, switch_status):
|  | Keypad Lock | def get_keypad_lock_switch_status(self): | def set_keypad_lock_switch_status(self, switch_status):
|  | Alarm Volume | def get_alarm_volume(self): | def set_alarm_volume(self, alarm_volume):
|  | Infusion Near Complete | def get_infusion_near_complete_criteria(self): | def set_infusion_near_complete_criteria(self, infusion_near_complete_criteria, parameters_for_criteria):
|  | Bubble Sensitivity | def get_bubble_sensitivity(self, air_detection_option): | def set_bubble_sensitivity(self, air_detection_option, bubble_sensitivity):
|  | Drip Sensor | def get_drip_sensor_switch_status(self): | def set_drip_sensor_switch_status(self, switch_status):
| Maintenance | Maint Setting Password
Password
|  | Alarm Type | def get_alarm_sound_type(self): | def set_alarm_sound_type(self, alarm_sound_type):
Tube Calibration
|  | Restore Factory Settings | def restore_factory_setting(self):
| Device Report | Last Maint. Date | def get_maintenance_date_time(self): | def get_maintenance_period(self):
|  | UI Version | def get_firmware_version(self): | def get_firmware_data_version(self, firmware_type):
Driver Version
Safety Version
|  | Serial No. | def get_serial_number(self):
Alarm | alarm |  | def get_pump_alarm(self): | def get_alarm_name(self, alarm_index): | def get_alarm_count(self):
DeliveryView | bolus |  | def start_bolus(self): | def stop_bolus(self): | def set_bolus_parameter(self, bolus_rate, bolus_volume):
| info |  | def get_system_status(self):
| Infusion |  | def start_infusion(self): | def stop_infusion(self):
| infusion_parameter |  | def set_infusion_parameter(self, rate, infusion_time, vtbi):
| priming |  | def start_prime(self): | def stop_prime(self):
SensorControl |  |  | def get_pressure_sensor_status(self): | def get_size_sensor_status(self): | def get_door_sensor_status(self): | def get_drip_speed_sensor_status(self): | def get_bubble_sensor_status(self): | def get_speed_sensor_status(self):

## Proposed Statuses and Workflow
Phase (Status): | Purpose: | Key:
New | Item has not been started yet | SRS = PumpLibrary Method Requirement
Draft | Currently being written | SVT = Test cases
Review | Ready for review/currently being reviewed
Dry Run | SVT is currently in a dry run (SVT only)
Update | Needs some updates
Done | Work has been completed, reviewed, approved, and dry run passed
Blocked (Query) | Work cannot move forward because there are queries
Blocked (Broke) | Work cannot move forward because the method is broke in the current version
N/A | Used for methods that don't need an SRS/SVT